{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["征询"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"征询","index":0,"n_rows":4,"n_cols":5,"rows_kept":4,"merged":[[0,0,0,4],[3,0,3,4]],"flags":["formulas_cached_only"]}
["市场征询目录"]
["序号","项目名称","单位","数量","报价"]
[1,"污染源在线监测系统运维技术服务","套",2]
["备注：对流量、余氯、PH因子在线监测系统提供日常维护管理，确保系统正常有效运行，有足够的有效监测数据上传至环保行政管理部门。运维工作具体要求至少每天2次平台巡检，每周现场巡检一次及质控样校验一次，每月校准一次并实体比对一次等。"]